GSM DUAL BAND 850/1900 DIGITAL CELLULARM SYSTEM

DECEMBER 2006

RACO’s Cellularm System represents the next generation of fixed cellular equipment designed to provide voice communications over the GSM 850/1900 Digital cellular network. The Cellularm System can be used for cellular telephone communications only, or it can be optionally equipped with a RACO autodialer to provide additional alarm monitoring and reporting capabilities.

Designed for temporary or permanent field use, the new system is ruggedly built and is housed in a heavy duty, weather-resistant enclosure. Fully equipped, the Cellularm System consists of a GSM Dual Band, 850/1900, Digital cellular transceiver, antenna, and one of RACO’s family of autodialers packaged in a single, integrated unit.

It is the users responsibility to contact his local cellular dealer or service provider to determine the availability of a GSM 850/1900 network.

TECHNICAL SPECIFICATIONS

• Cellular Transceiver

GSM dual Band 850/1900 Digital Transceiver, 15 month factory warranty.

• Frequency Ranges

GSM 850 - Transmit 824-849 MHz, Receive 869-894 MHz

GSM 1900 - Transmit 1850-1910 MHz, Receive 1930-1990 MHz

• Operating Voltage

6.0 VDC

• Transceiver Battery Backup

One 6 volt 4 AH, sealed lead acid battery. External battery operation equals 8 hour active use, 14 hours standby.

• Antenna

Cellularm is furnished with a flexible right angle, 2.0 dBi gain dual band dipole antenna, connected with a standard TNC connector. If system is to be located in a cellular fringe area or a hilly location, a higher strength antenna may be required (to be furnished separately).

• Telephone Connection

One standard RJ 11C connector provided for standard telephone set or autodialer. The user is to furnish splitter if both telephone set and autodialer are to be used together.

• Environment

Operating Temperature Range: -10 degrees C to +50 degrees C

Storage Temperature Range: -40 degrees C to +60 degrees C

Humidity Range: 5% to 95% (excludes batteries)

• Enclosure Specifications

Molded fiberglass with silicone gaskets NEMA 4X, CSA Type 3, 4, and 5; UL Approved

• Overall Dimensions

Guard-It System: 17-1/2” H x 15-1/2”

W x 6-1/4” D All Other Systems: 17-

1/2” H x 14-7/8” W x 12-1/4” D

Mounting Centers: 16-3/4” vertical x

12” horizontal

• Total Weight

Guard-It System 29 lbs, all other Systems 49 lbs. Includes entire packaged system — fiberglass enclosure, cellular telephone with backup battery pack, and autodialer.